## Slide 1: AQUABLATION FOR BPH
Christopher Kelly MD, Department of Urology,
NYU Langone Health

## Slide 2: Aquablation - Welcome

## Slide 3: Christopher Kelly MD
NYU Urology Associates
New York, NY
646 825 8322
Practice website: https://med.nyu.edu/departments-institutes/urology/
Medical School
Columbia University Vagelos College of Physicians and Surgeons
Internship/Residency
Massachusetts General Hospital/HMS
Fellowship
University of Texas, Southwestern Medical Center, Female Urology & Neurourology
Surgeon Headshot Here

## Slide 4: Disclosures
PROCEPT BioRobotics® - Consultant
The views expressed in this presentation are those of the presenter and do not necessarily reflect the views or policies of PROCEPT BioRobotics or its subsidiaries. No official endorsement by PROCEPT BioRobotics or any of its subsidiaries of any vendor, products or services contained in this presentation is intended or should be inferred.
HALOZYME - Consultant and Speakers Bureau (Ongoing)

## Slide 5: Agenda
Introduction to Aquablation Technology
Why Aquablation? My Experience Hospital implications Clinical Best Practices

## Slide 6: AQUABLATION TECHNOLOGY

## Slide 7: Aquablation Technology Summary
Ultrasound and Cystoscopic view to identify critical anatomy
R E A L - T IME IMA GE GU IDA N C E
Computer-assisted software maximizes tissue
resection while sparing the verumontanum and
bladder neck regardless of morphology
P E R SON ALIZE D T R E A TM EN T P LA N N IN G
Efficient and reproducible resection times across prostates of all sizes
A U T OMA TED R OBOT IC E XE C U T ION
Safely resect tissue without the risk of thermal damage to surrounding tissue
HE A T - FR EE W A T E R J ET R E SE C T ION

## Slide 8: Real-Time Image Guidance
CYSTOSCOPY
TRANSRECTAL ULTRASOUND
Transrectal Ultrasound (TRUS)
Waterjet & Cystoscope
External
Sphincter
Veru
Lateral
Lobe
Bladder
Median
Lobe
&

## Slide 9: Personalized Treatment Planning
B L AD D ER NE C K | P RE S E RVE
2
L AT ERAL L O B E | RE S E CT
3
IDENTIFY CRITICAL ANATOMY
1 ME D I AN L O B E | RE S E CT
V E RUM ONTANUM | P RE S E RVE
4
E X T E R N A L S P H I N C T E R | P R E S E R V E
5
CREATE TREATMENT
CONTOUR
1
2
3
4
5
1
2
3
4
5
1
2
3
4
5
1
2
3
4
5

## Slide 10: Automated Robotic Execution
CLINICAL OUTCOMES ARE EXPERIENCE AGNOSTIC
WATER study - 14 of 17 participating surgeons had no previous experience with Aquablation therapy
WATER II study - median previous experience of 0.5 procedures with Aquablation therapy
0
40
30
20
10
50
60
70
30
50
70 90 110
P R O S T A T E S I Z E (mL)
130
150
R E S E C T I O N T I M E (min)
Average Resection Time Aquablation therapy: 5.8 mins
TURP: 27.4 mins
SIZE & SHAPE INDEPENDENT RESECTION
WATER + WATER II (30-150mL)
TURP (30-80mL)
WATER and WATER II : Data on file at PROCEPT BioRobotics
Sample results shown here

## Slide 11: Heat-Free Waterjet Mechanism of Action
WAT ERJET |  | COL L AG EN I M PACT | 
 |  | COLLAGE N | DESTROY ED
 |  | SOFT | DESTROY
m |  | TISSUE ED | 
2 4 . 3 m |  | COLLAGE N | DISRUPTE D
 |  | SOFT | DESTROY
 |  | TISSUE ED | 
 |  | COLLAGE N SOFT | PRESERV ED DESTROY
 |  | TISSUE | ED
SHOWN IN
WHITE
COLLAGEN
SOFT
TISSUE
SHOWN IN
YELLOW

## Slide 12: Aquablation Therapy Procedure

## Slide 13: Aquablation Therapy Results
Before
After
3
months
post-op
Intraoperativ e ultrasound
Sample results shown here

## Slide 14: Focal Bladder Neck Cautery
Protocol
Loop the fluffy tissue to smooth tissue,
then cauterize as required
STEP 3
Inspect
Turn off irrigation
and inspect for bleeders
under normal blood pressure
STEP 2
Focus at the Bladder Outlet
Systematically work around the bladder outlet
STEP 4
Effluent Color Goal
Bleeding source
Fluffy tissue
STEP 1
Irrigate bladder
Elterman D. et al. Focal Bladder Neck Cautery Associated with Low Rate of Post Aquablation Bleeding. CJU 2021 Apr.

## Slide 15: Focal Bladder Neck Cautery
Resection Technique
Resect 2-3cm distally from the bladder outlet approximately 1 loop depth or until you see circular fibers
Circumferentially resect from 3 o’clock to 9 o’clock approximately 1 loop depth or until you see circular fibers
Spot coag any bleeders as needed

## Slide 16: Focal Bladder Neck Cautery Video Review
Gland Size: | 80g
FBNC Time: | 12 min

## Slide 17: Focal Bladder Neck Cautery Methodology Results From Over 2,000 Patients
FOCAL BLADDER NECK CAUTERY
Clot Evacuation
Removal of “fluffy tissue”
Cauterize around bladder neck
RESULTS
Focal Bladder Neck Cautery | Mean (N = 2,089)
Transfusion Rate (%) | 0.8 (95% CI: 0.5- 1.3)
Prostate Size (mL) | 87 (20-363)
FBNC Time (min) (handpiece removal to catheter insertion) | 19.9
Elterman D. et al. Focal Bladder Neck Cautery Associated with Low Rate of Post Aquablation Bleeding. CJU 2021 Apr.

## Slide 18: Same Day Discharge With Aquablation Therapy
Well-established hemostasis method resulting in 0.8% transfusion rate in over 2,000 patients1
Confidence in hemostasis and need for COVID outpatient resulted in studying same day discharge
Consecutive patients from Dec 1, 2020 to April 15, 2021 were offered Aquablation on outpatient basis
The information included in this material is being provided for informational purposes only and is not a substitute for the independent medical judgment of a physician in assessing treatment and management options for a specific patient. The information is not intendedas a recommendation or endorsement by PROCEPT BioRobotics of any particular treatment method, unless otherwise expressly stated in the product’s User Manual or
Instructions For Use. The handling physician is solely responsible for all patient care decisions.
CBI PACU x4 hours
- Traction
+ Traction
Clear
Dark Red
Observation Status/Admit Continuous CBI
Take off Traction
Dark Red
Clear
Outpatient
Remove Catheter in Clinic
Hematuria Scale
Stout et al. Urology 2020
Grade I Grade II Grade III Grade IV Grade V
D I S C H A R GE A L GO R I TH M
Elterman D. et al. Focal Bladder Neck Cautery Associated with Low Rate of Post Aquablation Bleeding. CJU 2021 Apr.
Helfand. (2021). Aquablation Therapy Day Case Feasibility [White Paper] PROCEPT BioRobotics

## Slide 19: WHY AQUABLATION?

## Slide 20: Why Aquablation?
Desire to branch out beyond my standard approach to BPH: PVP and TURP . I was not satisfied with the durability and narrow criteria for Urolift; nor with my particular unpredictabtility and orgasmic dysfunction of my HoLEP experience.
Looking for an overall quick, reliable,
effective, durable and safe BPH surgery with a a high level of patient satisfaction.
Why #1
Why #2
Why #3
Doing EP-Greenlights and EP-TURPS were fine but required more time and required delicate fine-tuning. Leaving too much required a take-back. I saw how ejaculation-preservation was easier to do while still removing as much tissue as possible with AB.

## Slide 21: Aquablation: 5-year data on efficacy and safety

## Slide 22: Aquablation versus TURP: 5 year Efficacy and Durability

## Slide 23: Aquablation versus TURP: Efficacy and Durability

## Slide 24: Aquablation versus TURP: Efficacy, Safety, Durability

## Slide 26: MY CLINICAL EXPERIENCE

## Slide 27: Clinical Outcomes
Procedures: | 38
Average Prostate Size: | 88g
Average Procedural Time: | 52 min
0
20
40
60
80
100
120
40
60
80
100
120
PROSTATE SIZE
140
160
180
200
MINUTES
PROSTATE SIZE & RESECTION TIMES

## Slide 28: Clinical Outcomes
Small v. Large Glands
PROSTATE SIZE (40-80g)
Procedures: | 18
Average Prostate Size: | 60
Average Procedural Time: | 49 min
Procedures: | 20
Average Prostate Size: | 113
Average Procedural Time: | 56 min
0
20
40
60
80
100
120
40
50
60
PROSTATE SIZE
70
80
MINUTES
0
20
40
60
80
100
120
80
100
120
140
PROSTATE SIZE
160
180
200
MINUTES
PROSTATE SIZE (>80g)

## Slide 29: Prostate Sizes Treated
21%
24%
21%
16%
11%
5%
3%
40-59
60-79
80-99
140-159
160-180
# OF PROCEDURES
100-119 120-139
PROSTATE SIZE GROUPS

## Slide 30: Clinical Outcomes Compared to Peer ReviewMETA-ANALYSIS
IPSS improvement | 16 points | 
Urinary Peak Flow Rate | 20.5 mL/sec | 
Quality of Life Improvement | 3.3 points | 
Post Void Residual Improvement | 62 mL | 
Ejaculatory Dysfunction | 10.80% | 
Erectile Dysfunction | 0% | 0 %
Incontinence | 0.50% | 0%
DR.
Elterman D. et al. Meta-analysis with individual data of functional outcomes following Aquablation for lower urinary tract symptoms due to BPH in various prostate anatomies BMJ Surg Interv Health Technologies 2021
4 clinical studies
425 patients
Prostate volume 20 – 150 mL
1 year follow – up
META - ANALYSIS

## Slide 31: Clinician Experience
Improved Ergonomics + Procedure Efficiency
HIGHER OVERALL SAT ISFACTION
Easier on my body: Less sitting time in one place; my standing time =/> sitting
time
I can do more cases during the day without feeling exhausted, burnt out.
2. Less surgical monotomy for me
  Goal: case less than one hour (all size glands)
  I increased my efficiency with repetition; I recommend doing at least 3 consecutive cases in the beginning; keeping glands 50-120 g
  OR Staff – Much less saline bags to hang; less switching out the suction machine
  PACU – courses fairly predictable; 4 hours on CBI then wean

## Slide 32: Patient Experience Improved Patient Outcomes
IPSS Data here
Similar to WATER & WATER II studies
Reoperation
Retrograde Ejaculation
IPSS Improvement
Qmax increase
QoL improvement
>85 patients
Prostate volume 30 + mL
Follow – up at 6 weeks
DECREASED RISKS
INCREASED EFFECTIVENESS

## Slide 33: HOSPITAL IMPLICATIONS

## Slide 34: Building an Aquablation Program
Q’Y
Q’Y
Q’Y
Q’Y
Education Internal Office Having 2-3 Clinical Champions
Support from Chrmn of Urology
Executive Support (CFO)
Contract and PO
Strategic Sourcing
Q’Y
OUTCOME?

## Slide 35: Program Ramp
0
5
10
15
20
25
30
35
40
Q2 22'
Q3 22'
Q4 22'
Q1 23'
Procedural Volume

## Slide 36: Halo Effect on the Urology Service

## Slide 37: Hospital Implications Example Economics
 | Aquablation |  | Greenlight |  | TURP
Reimbursement per Case Medicare National Average | $8,558 |  | $4,685 |  | $4,685
Perioperative Supply Cost Disposables | $4,577 |  | $2,833 |  | $1,158
Contribution Margin Dollars per case | $3,981 |  | $1,852 |  | $3,527
Aquablation Vs. Greenlight Aquablation Vs. TURP | $2,129 |  |  |  | 
 | $454 |  |  |  | 

## Slide 38: CLINICAL BEST PRACTICES

## Slide 39: Case Study 1
59-year-old engineer from Maine
  Started developed symptoms 3 years prior and has been treated with daily tamsulosin and later tadalafil.
  Didn’t want anything permeant put in (Urolift) and wanted to best
preserve ejaculatory function.
  Found me on YouTube and Procept Physician locator

## Slide 40: Case Study 2
73-year-old engineer from North Dakota
  Started developed symptoms 5 years prior and continues with tamsulosin 0.8 mg daily despite Urolift x 2 by another local urologist
  Referred to me by his family physician who has his Aquablation scheduled next week

## Slide 41: Same Day Discharge With Aquablation Therapy
Results
87% successfully underwent day-case Aquablation therapy
0% readmissions and transfusions
0% of patients required home irrigation
Helfand. (2021). Aquablation Therapy Day Case Feasibility [White Paper] PROCEPT BioRobotics

## Slide 42: Learning Curve Pearls and Pitfalls
IDEAL SIZE TO START
60-80g
MEET WITH PACU
Goals with CBI Urine color Hand irrigation Traction
FOCAL BLADDER NECK CAUTERY
3-9 o'clock bladder neck cautery
Don’t over-resect

## Slide 43: Resources What was available to you and what are your recommendations:
CASE OBSERVATIONS
LOCAL REP
WEBINARS

## Slide 44
Key Takeaways For Aquablation
Safety & efficacy, high patient satisfaction
Efficiency & Ergonomics, high surgeon satisfaction
Strategic value to hospital with a “halo effect”, reinforcing favorable reimbursement to TURP & GLPVP

## Slide 45: Question & Answer Discussion